## Slide 1: Future development of the European solar market towards decentralized renewable energy generation and storage: A cross-country comparative analysis
Technoeconomics of Energy Systems laboratory (TEESlab),
Department of Industrial Management & Technology,
University of Piraeus (UNIPI)
Vassilis Stavrakas
Research Associate

## Slide 2
Introduction
Vision of consumers
generating
storing
consuming
sharing clean energy
Realistic pathway towards a low carbon power system
...at local level
Decentralized future
challenges
Technological
Regulatory
Economic
Reality
Social
Demand-Side Management (DSM) modeling

## Slide 3
Europe’s vision for a socially fair energy transition towards 2050…
100% RES System using Storage & Demand-Response technologies
System Change
Decentralized community projects & innovative business models
Diffusion of technological breakthroughs at the residential sector
Digitalization can make this transition more efficient & democratic
Smart-Grid paradigm
Potential also lies in energy efficiency & tackling energy poverty

## Slide 4
Business Models (BMs) to explore benefits of self-consumption in the power market
100% RES System using Storage & Demand-Response technologies
System Change
Diffusion of technological breakthroughs at the residential sector
Digitalization can make this transition more efficient & democratic
Smart-Grid paradigm
Potential also lies in energy efficiency & tackling energy poverty
Decentralized community projects & innovative business models
Our study focuses on:
  ..on ways to couple small-scale PV with storage technologies
  using this infrastructure to generate additional revenues for consumers…
Such sources of revenue can counterbalance the phasing out of FiTs around Europe, so that incentives for PV adoption remain strong
Revenue opportunity
Less reliance on subsidies

## Slide 5
A Transdisciplinary Modeling Framework (1/4)
Modeling suite to perform quick simulations as part of an iterative participatory process aiming to provide answers to “what if” scenarios

## Slide 6
New small-scale
PV capacity addition
Simulation
Forward-looking projections
Benefits of PV self-consumption with storage at the residential sector
Business Model
Increasing the value of flexibility through provision of services to the grid
A Transdisciplinary Modeling Framework (2/4)

## Slide 7
A Transdisciplinary Modeling Framework (3/4)
Parameters for n buildings
Weather climate data
Inputs
HVAC control settings
Occupancy profiles
Activity profiles
Demand-Response
Wholesale Electricity Market
Irradiance module
External temperature module
n number of buildings
Control strategies
Thermal comfort
Occupancy
Appliances
Smart thermostat
Net building electrical demand
HVAC
Electricity Storage
PV installation
Building envelope
Σ
Aggregated results for n buildings
Outputs
Main model
-

## Slide 8
A Transdisciplinary Modeling Framework (4/4)
Agent-related parameters
Calibration based on historical market data

## Slide 9
Case Studies – Geographical context
Denmark
France
Greece
Nordic country in Northern Europe with relatively low solar energy availability (i.e., 1000 kWh/m2)
Western & Central Europe - Territories with:
  Diversely climate zones,
  Solar energy availability:
1,000 kWh/m2 (North)
1,700 kWh/m2 (South)
Southern Europe - Largest coastline in Europe - electricity interconnection remains a continuous challenge
Diverse geographical landscape & high solar irradiation levels

## Slide 10
Case Studies – Policy background
PV regulatory framework (at present):
Net-metering scheme
Efforts to support self-consumption
2030 short-term target: 50% RES production (700 MWp of PV power installed)
2050 long-term target: 100% RES system (1,500 MWp of PV power installed)
2030 short-term target: 6,900 MWp of PV power installed
PV regulatory framework (at present):
Net-metering scheme
Efforts to support self-consumption
2030 short-term target: 33 GWp of PV power installed
PV installations
1st Model: FiTs without the possibility of self-consumption
2nd Model: Self-consumption with investment grant & fixed FiTs for excess electricity fed into the grid

## Slide 11
Case Studies – Scenario analysis (1/4)
Business-As-Usual (“SC1”)
School-aged child
(6-11 years old)
Nuclear (conjugal) family:
2 working parents & 2 children
Adolescent
(12-18 years old)
Paris
Copenhagen
Athens
Weather Data

## Slide 12
Case Studies – Scenario analysis (2/4)
Business-As-Usual (“SC1”)
Single Family House
2007 -2010
Reference Floor Area: 145 m2
Single Family House
2006 -2012
Reference Floor Area: 105 m2
Single Family House
2001 -2010
Reference Floor Area: 115 m2
TABULA
webtool
Building Typologies

## Slide 13
Case Studies – Scenario analysis (3/4)
II. Flexibility through provision of services to the grid (“SC2”)
School-aged child
(6-11 years old)
Nuclear (conjugal) family:
2 working parents & 2 children
Adolescent
(12-18 years old)
Policy scheme:
- 25% subsidy of storage
Initial investment cost 800 €/kWh
Nominal power
1 kWp
Expected lifetime
3,000 equivalent full cycles

## Slide 14
Case Studies – Scenario analysis (4/4)
II. Flexibility through provision of services to the grid (“SC2”)
Storage dispatch model
Optimization algorithm:
Storage capacity dispatched in an optimum way to maximize self-consumption
Sizing of 1-to-1 for storage capacity to PV peak power

## Slide 15
Time (hours)
Energy Consumption (kWh/yr)
988.11 kWh
SC1
SC2
13.85%
Results – Benefits of PV self-consumption with storage for consumers in Denmark

## Slide 16
Energy Consumption (kWh/yr)
Time (hours)
1,038.34 kWh
SC1
SC2
16.66%
Results – Benefits of PV self-consumption with storage for consumers in France

## Slide 17
Energy Consumption (kWh/yr)
Time (hours)
SC1
SC2
1,324.42 kWh
20.11%
Results – Benefits of PV self-consumption with storage for consumers in Greece

## Slide 18
Results – Comparative analysis
Chart: Levelised Cost of Saved Energy (€/kWh)
| 0.16300000000000001 | 0.155 | 0.122
 | 988.11 | 1038.34 | 1324.42

Indicative PV & storage Cost Data, as obtained from the scientific literature & technical reports
Energy Savings as derived from the model
Greece
France
Denmark
Higher solar irradiation levels

## Slide 19
Results – Further adoption of small-scale PV towards 2030
25 adoption scenarios
25 different realistic
behavioral profiles of consumers
Willing
investors
Risk-averse
investors

## Slide 20
Results – Further adoption of small-scale PV towards 2030
Variance
of outcomes
Quantifying adoption uncertainty
Willing
investors
Risk-averse
investors
mean value

## Slide 21
Results – Further adoption of small-scale PV in Denmark towards 2030
PV Capacity (MW)
2020 - 2030
Average expected PV capacity addition
480 MW

## Slide 22
Results – Further adoption of small-scale PV in Denmark towards 2030
PV Capacity (MW)
2020 - 2030
Quantification of uncertainty
170 MW

## Slide 23
Results – Further adoption of small-scale PV in France towards 2030
PV Capacity (MW)
2020 - 2030
2,150 MW
Average expected PV capacity addition

## Slide 24
Results – Further adoption of small-scale PV in France towards 2030
PV Capacity (MW)
2020 - 2030
Quantification of uncertainty
500 MW

## Slide 25
Results – Further adoption of small-scale PV in Greece towards 2030
PV Capacity (MW)
2020 - 2030
550 MW
Average expected PV capacity addition

## Slide 26
Results – Further adoption of small-scale PV in Greece towards 2030
PV Capacity (MW)
2020 - 2030
230 MW
Quantification of uncertainty

## Slide 27
Results – Further adoption of small-scale PV in Greece towards 2030
PV Capacity (MW)
2020 - 2030
Average scenario (probable/realistic)
very close to the more optimistic one
Willing
investors

## Slide 28
Conclusions & Implications for policy
Denmark
Results are very encouraging, demonstrating the country’s high potential for a switch to a more decentralized electricity system
Public support of PV self-consumption with storage through an initial subsidy (25%) will lead to economic viability
towards the National targets of 2030
A low storage subsidy (e.g., 25%) is enough for consumers to perceive the profitability of their investment
A switch to individual PV self-consumption with storage
seems reasonable and viable

## Slide 29
Conclusions & Implications for policy
France
Public support of PV self-consumption with storage through an initial subsidy (25%) will lead to economic viability
towards the National targets of 2030
A low storage subsidy (e.g., 25%) is enough for consumers to perceive the profitability of their investment
France could be one of the front liners towards a European decentralised electricity system
Existing provisions that introduce PV storage systems & individual self-consumption could become economically viable

## Slide 30
Conclusions & Implications for policy
Greece
2030 National targets of small-scale PV are estimated at 620 MW  the success of a self-consumption scheme seems probable
A low storage subsidy (e.g., 25%) may not be enough to boost the further diffusion of small-scale PV
Higher levels of subsidization seem rather infeasible owing to implications of the economic recession of the past decade
National policy planning should focus on new & sustainable business models that will prove the economic viability of PV self-consumption with storage

## Slide 31
Further Research: Need for Adaptive Policy Pathways … (1/3)
So …
Especially striving towards National RES Targets of
2030 & 2050
… What should we do ???

## Slide 32
Further Research: Need for Adaptive Policy Pathways … (2/3)
Considering uncertainty…
Need for Adaptive Policy Pathways…
…visualizing policy adaptation maps, showing alternative pathways leading to desired policy outcomes
…incorporating multiple stakeholders’ perspectives into modelling scenarios

## Slide 33
Further Research: Need for Adaptive Policy Pathways … (3/3)
Indicative example…
Net-Metering
Subsidy 75%
Subsidy 50%
Subsidy 25%
2020
2025
2030
The ratio between large- and small-scale installations is assumed 5:1
… towards National PV targets of 2030
Current situation

## Slide 34
Find more about us…
For more information…
Contact us by e-mail:
teeslab@unipi.gr
Visit our Website:
https://teeslab.unipi.gr/
Find us in LinkedIn:
www.linkedin.com/groups/12070918/
TEESlab, the energy modelling, strategy and policy analysis laboratory of University of Piraeus (UNIPI)
It’s all about TEEMwork !

## Slide 35
Thank you !
Vassilis Stavrakas vasta@unipi.gr